## Sheet1
Cal 40 Shaman Electrical Worksheet
1 | Calculate your DC Loads: |  |  |  |  | All loads based on actual values observed with Link 10 monitor
| Lighting |  | Amps | Hours | AH/Day
|  | Running Lights | 2 | 9 | 18 | All bulbs replaced with Dr. LED replacement bulbs ordered 6/14/16.
|  | Anchor Light | 1 | 0 | 0 | All bulbs replaced with Dr. LED replacement bulbs ordered 6/14/16.
|  | Interior Lights | 1.5 | 2 | 3 | Three Dr. LED SideKick
|  | Instrument Lights | 0.25 | 12 | 3 | B&G Hydra and Zeus 12 Touch. Two compasses with LED lights.
|  |  | Lighting AH |  | 24
| Galley |  | Amps | Hours | AH/Day
|  | Refrigeration | 0 | 0 | 0 | Adler Barbour unit turned off for race.
|  | Propane Solenoid | 0.6 | 1 | 0.6 | Based on one cooked meal per day plus morning coffee. Freeze-dried food.
|  |  | Galley AH |  | 0.6
| Electronics |  | Amps | Hours | AH/Day
|  | VHF | 0.5 | 24 | 12 | Standby current consumption. Transmit higher.
|  | SSB | 30 | 0.1 | 3 | SSB transmit currents are about 30 amps.
|  | Chartplotter | 0.7 | 24 | 16.8
|  | Instruments | 2 | 8 | 16
|  | Iridium GO | 0.1 | 4 | 0.4
|  | Autopilot | 7 | 12 | 84 | B&G H3000 system with brand new T1-12V ram and old (working) ram as backup. Simrad TP10 dumb tiller pilot if everything else goes down.
|  | Depth sounder | 0 | 0 | 0 | Turned off in deep ocean beyond depth range.
|  | Chargers (mobile devices) | 0.2 | 8 | 1.6 | Goal Zero Venture 30 battery/folding panel for emergency/independent charging of devices/iridium/HH VHF.
|  | Energy Monitors | 0.028 | 24 | 0.672 | Xantrex Link 10
|  | Bluetooth speaker | 0.1 | 8 | 0.8
|  |  | Electronics AH |  | 135.272
| Plumbing |  | Amps | Hours | AH/Day
|  | Electric Head | 0 | 0 | 0 | N/A. Jabsco manual head
|  | Freshwater Pump | 0 | 0 | 0 | N/A. Two Whale flipper pumps replacing SHURflo.
|  | Bilge Pump(s) | 5 | 0 | 0 | This should be zero unless the boat leaks. It has been completely dry for 1 1/2 years. Shaft seal to be checked 6/20/16 haulout.
|  | Sanitation System |  |  | 0 | N/A
|  | Shower Sump |  |  | 0 | N/A
|  |  | Plumbing AH |  | 0
| Inverter |  | Amps | Hrs/day | AH/Day | Xantrex ProSine 1800
|  | Computer | 0 | 0 | 0 | iPad/iPhone charged by 12V or independent Goal Zero solar
|  | Cordless drill | 1 | 2 | 2 | Will only charge as needed for possible repairs. Fully charged at departure.
|  | Other |  |  | 0
|  |  | Inverter AH |  | 2
|  | Gross Energy Consumption AH/Day |  |  | 161.872
2 | Alternative Energy Sources
|  | Device | Amps | Hrs/day | AH/day
|  | Solar, avg | 10 | 7 | 70 | 165 watt monocrystalline solar panel plus 50 & 28 watt flexible panels. 244-watt system. Rated at 14.5A max.
|  | Wind, avg | 0 | 0 | 0 | N/A
|  | Water, avg. |  |  | 0 | N/A
|  | Contribution of AES AH/Day |  |  | 70
3 | Net Energy Consumption, AH/Day |  |  |  | 91.872
4 | Desired Days Between Charging |  |  |  | 1
5 | Range of Battery Use |  |  |  | 35% | For example, from 40-85% state of charge.
6 | Recommended Battery Capacity |  |  |  | 540 | Actual two brand new Mastervolt AGM: 450Ah. New Group 31 Mastervolt AGM: 90Ah
7 | Alternator Output, Amps |  |  |  | 65 | Ample Power 65W with Digital EchoCharge and emergency cross-connect switch. 2005 Yanmar3JH4E.
8 | Charge Efficiency Factor |  |  |  | 95% | AGM: 95%
9 | Minimum Time to Charge |  |  |  | 1:29 | Assumes alternator runs at full output.